## Slide 1: Analysis of Puerto Rico’s Status of Electrical Infrastructure SURE C^2 Carmen Caiseda Daniel Barreiro Onix González Jorge Feliciano

## Slide 2: Agenda
Introduction
3
Data Analysis
4
Python methodology
6
Challenges and solutions
9
References
10

## Slide 3: Introduction
On September 20, 2017, Puerto Rico got hit by the worst natural disaster in recent history
Island lost power for months
This blackout is believed to be the longest in U.S. history
These events highlight need for a more resilient system
We desired to quantify how catastrophic this collapse and look for potential solutions
3

## Slide 4: Data Management
Data collection
Data cleaning
Data analysis

## Slide 5: Data analysis - collection
We extracted Puerto Rico’s Electrical grid data from the PR Institute of Statistics; provided by the island’s current electrical distribution manager, LUMA Energy.

## Slide 6: Excel Visualizations of Max Demand and Weather Data
Monthly Maximum Demand from Years 2015-2019

## Slide 7: Excel Visualizations of Max Demand and Weather Data
Seasonality of Maximum Demand from Years 2013-2016, & 2019-2022

## Slide 8: Excel Visualizations of Max Demand and Weather Data
Seasonality of Peak Temperature Weather Data of PR for Years 2013-2016, & 2019-2022.

## Slide 9: Python – Date formatting
Code used to standardize the date in the U.S. format of m/d/y
A variety of Python libraries were imported to work with math, plotting and statistics

## Slide 10: Python – T test pre and post hurricane
10
Measure | Maximum D | Gross Generation
Mean ± t-critical* SE (Pre,Post) | 2940 ± 31.15 MW 2627 ± 50.12 MW | ± 23.11 MkWh ± 34.43 MkWh
Variance Pre Variance Post | 2.52 E4 4.36 E4 | 1.40 E4 2.07 E4
Observations (Pre,Pos) | (72 48) df = 82 | (72,48) df = 118
T-stat P-value – One-tail | 8.84 7.48 E-14 | 9.19 8.04 E-16

## Slide 11: Python – T test pre and post hurricane
Means were calculated using the following code

## Slide 12: Python – plots of Gross generation and max demand

## Slide 13: Potential challenges & solutions
Challenges:
Generation has failed to reach its pre-Maria peak
The biggest plant in the island still runs on old fossil fuel generators
Possible solutions:
Place capacitor banks to stabilize the grid by regulating power factor
Develop algorithms that can predict demand spikes and system irregularities
Replace old generators with renewable energy systems

## Slide 14: References
Placeholder for references​
Generation, consumption, cost, income and customers of the Puerto Rico electrical system. (2023, March 13). https://www.indicadores.pr/dataset/generacion-consumo-costo-ingresos-y-clientes-del-sistema-electrico-de-puerto-rico/resource/8025f821-45c1-4c6a-b2f4-8d641cc03df1
Sandoval, R. (2019, 18 septiembre). HOJA DE RUTA DE RECURSOS ENERGÉTICOS DISTRIBUIDOS PARA PUERTO RICO. https://ieefa.org/sites/default/files/2023-01/Hoja-de-ruta-de-recursos-energeticos-distribuidos-para-Puerto-Rico-Fase-I-Final-11_2019.pdf

## Slide 15: Thank you for your attention